JOB SHEET

Electrician

| Your business |  |
| --- | --- |
| Business name |  |
| Address |  |
| Phone |  |
| Email |  |
| VAT no. |  |
| Scheme and registration no. |  |

| Job no. | J-0001 |
| --- | --- |
| Date | 28/10/2026 |

| Customer | Mrs S. Patel, 14 Elm Road, Reading RG1 4AB |
| --- | --- |

| Work asked for |  |
| --- | --- |
| Work done |  |
| Arrived |  |
| Left |  |

Checks

| Check | Done | N/A |
| --- | --- | --- |
| Supply isolated, locked off and proved dead before work | ☐ | ☐ |
| Condition of the existing installation noted, and faults reported to the customer | ☐ | ☐ |
| Protective devices match the circuit design | ☐ | ☐ |
| Continuity, insulation resistance and polarity tested | ☐ | ☐ |
| Earth fault loop impedance and RCD trip times recorded | ☐ | ☐ |
| Consumer unit labelled and schedule of circuits fitted | ☐ | ☐ |
| Certificate issued (EIC or Minor Works) and Part P notification made | ☐ | ☐ |
| Customer shown the new board and how to test the RCDs | ☐ | ☐ |
| Old fittings and waste taken away, area left clean | ☐ | ☐ |

Materials used

| Item | Qty |
| --- | --- |

| Notes |  |
| --- | --- |
| Customer signature |  |
| Electrician signature |  |
| Date |  |

Free template from vslocks.com/viperlabs/viperjob/templates. Quote, invoice and get paid from your phone with ViperJob.